## Slide 1
Pediatric Ureteral Stent Restoration
Baseline CFD Validation and Tier A Tissue-Context Planning
Baseline COMSOL work only where completed; Tier A slides are clearly labeled as planned implementation.
1

## Slide 2
The 3-Cylinder CFD Abstraction
3-Cylinder CFD Abstraction
Proximal cylinder renal pelvis / kidney-side
Middle cylinder ureter shaft transport zone
Distal cylinder bladder-side reservoir
Imported parametric stent passes through all three fluid regions
Simplifies complex anatomy into repeatable geometric regions.
Kidney (Proximal) and Bladder (Distal) act as reservoir contexts.
Middle Cylinder isolates the shaft transport zone for targeted study.
Figure Placeholder
COMSOL Dumbbell Geometry Snapshot
Baseline COMSOL work only where completed; Tier A slides are clearly labeled as planned implementation.
2

## Slide 3
Baseline Simulation Contract
COMPLETED
Physics: Single-Phase Laminar Flow (spf)
Boundary: ΔP = 490 Pa (Pressure-driven)
Geometry: 11-parameter LHS sampled batch generation
QC: Mass balance and mesh quality automated gating
Figure Placeholder
Baseline Velocity Field (Screenshot)
Baseline COMSOL work only where completed; Tier A slides are clearly labeled as planned implementation.
3

## Slide 4
Tier A: Peristaltic Load Planning
PLANNED
P_ext(z,t) = P0 + A sin(k z - ω t)
Target: Middle-cylinder radial loading only.
Physiologic amplitude: 5–25 cm H20 scaling.
Implementation: Prescribed geometry constriction phases.
Figure Placeholder
Expected Tier A Constriction Schematic
Baseline COMSOL work only where completed; Tier A slides are clearly labeled as planned implementation.
4

## Slide 5
Evidence & Constraint Guardrails
Domain
Truth Claim
Constraint
Baseline
Automation pipeline functional
Rigid walls only
Hierarchy
Dumbbell is an abstraction
Not anatomical surgery-planning
Tier A
Proposed loading model
No fabricated deformable data
The pipeline is designed for objective 100+ design campaigns, not patient-specific clinical diagnosis.
Baseline COMSOL work only where completed; Tier A slides are clearly labeled as planned implementation.
5

## Slide 6
Next Steps & Roadmap
Harden mesh-clamping logic to stabilize batch 1 conversion.
Execute 60-design LHS 'Stage 1' baseline campaign.
Implement Tier A 'Single Phase' wave snapshot study.
Retrain Bayesian Surrogate on loaded dataset.
Baseline COMSOL work only where completed; Tier A slides are clearly labeled as planned implementation.
6